MPC Engine

v1.1 — MIMO Model Predictive Control Platform

Installation Guide & User Manual

For Chemical Process Industries

Document Version 1.1.0  —  February 2026

# 1. Overview

MPC Engine is a web-based MIMO (Multiple-Input, Multiple-Output) Model Predictive Control platform for chemical process industries. It enables control engineers to configure, identify, deploy, monitor, and tune MPC controllers entirely through a browser, without needing MATLAB or proprietary DCS engineering tools.

## 1.1  Key Capabilities

- MIMO control loops with up to 50 Controlled Variables (CVs) and 30 Manipulated Variables (MVs)

- Online and offline model identification: FOPDT, ARX, N4SID

- Model Library with versioning, approval workflow, and bumpless model switching

- Standalone OPC UA server — acts as the central data hub for all controller communications

- OPC Transporter — bridges external DCS/PLC OPC servers to the MPC engine

- Python scripting engine for preprocessors and postprocessors (sandboxed)

- Role-based access control: Administrator, Engineer, Operator

- Real-time monitoring via WebSocket-powered trend charts and KPI dashboards

- Full audit trail, session management, and configurable password policy

## 1.2  Technology Stack

| Component | Technology |
| --- | --- |
| Backend | Python 3.12, FastAPI, SQLAlchemy 2.0, asyncpg |
| Frontend | React 18, TypeScript, Tailwind CSS, Plotly.js |
| MPC Solver | OSQP (primary QP solver) |
| Config Database | PostgreSQL 16 |
| Time-Series DB | InfluxDB 2.7 |
| OPC UA | asyncua library (client + server) |
| Deployment | Docker + Docker Compose |

# 2. Prerequisites

## 2.1  Docker Installation (Recommended)

| Requirement | Minimum / Notes |
| --- | --- |
| Docker Engine | 24.0 or higher |
| Docker Compose | v2.20 or higher (plugin, not standalone) |
| RAM | 4 GB minimum, 8 GB recommended |
| Disk | 20 GB free (historian data grows over time) |
| CPU | 4 cores recommended for responsive MPC solving |
| Ports (free) | 3000, 8000, 4840, 5432, 8086 |
| OS | Linux (Ubuntu 22.04+), macOS 13+, Windows 10+ with WSL2 |

## 2.2  Manual / Development Installation

| Requirement | Version / Notes |
| --- | --- |
| Python | 3.11 or 3.12 (3.12 recommended) |
| Node.js | 20 LTS (for frontend development only) |
| PostgreSQL | 16 — running and accessible |
| InfluxDB | 2.7 — pre-initialized with bucket |

# 3. Installation — Docker (Recommended)

The Docker Compose stack starts all services automatically: PostgreSQL, InfluxDB, the MPC Engine backend, and the React frontend.

## Step 1 — Extract the Archive

tar -xzf mpc_engine_checkpoint_4.tar.gz
cd mpc_engine

## Step 2 — Configure Environment

cp .env.example .env

Open .env and change these settings before first start:

| Setting | Action Required |
| --- | --- |
| SECRET_KEY | Replace with a random 64-char string. Generate with: python -c "import secrets; print(secrets.token_hex(32))" |
| CORS_ORIGINS | Add your server hostname if not running locally |
| INFLUXDB_TOKEN | Change to a secure token (must match docker-compose.yml DOCKER_INFLUXDB_INIT_ADMIN_TOKEN) |
| PASSWORD_EXPIRY_DAYS | Set to 0 to disable expiry, or adjust to site policy |

⛔  Warning:  Never use the default SECRET_KEY in production. Sessions would be insecure and tokens forgeable.

## Step 3 — Start the Stack

docker compose up -d

Docker pulls base images (~800 MB first run), builds containers, and starts all services. Allow 3–8 minutes on first run. Check status with:

docker compose ps

All four services (postgres, influxdb, backend, frontend) should show healthy or running.

## Step 4 — Initialize the Database

docker compose exec backend python -m backend.app.init_db

Creates all tables and seeds the initial administrator. Expected output:

✓ All database tables created
✓ Admin user created (username: admin, password: Admin@MPC2026!)
  ⚠ You will be required to change this password on first login.

## Step 5 — Access the Application

| Interface | URL |
| --- | --- |
| Web UI | http://localhost:3000 |
| API Swagger Docs | http://localhost:8000/docs |
| API ReDoc | http://localhost:8000/redoc |
| OPC UA Server | opc.tcp://localhost:4840/mpc-engine/server |
| InfluxDB UI | http://localhost:8086 |

✅  Tip:  Login with username admin, password Admin@MPC2026! — you will be forced to set a new password immediately.

# 4. Installation — Manual (Development)

Use this when you want hot-reload during development or if Docker is unavailable.

## 4.1  Backend

- Extract and enter the project directory: cd mpc_engine

- Create a virtual environment:

python -m venv .venv
source .venv/bin/activate        # Linux/macOS
.venv\Scripts\activate.bat       # Windows

- Install dependencies:

pip install -e ".[dev]"

- Configure environment:

cp .env.example .env
# Edit .env — set DATABASE_URL and INFLUXDB_URL for your local services

- Initialize database:

python -m backend.app.init_db

- Start backend:

uvicorn backend.app.main:app --reload --host 0.0.0.0 --port 8000

## 4.2  Frontend

- Enter the frontend directory: cd frontend

- Install dependencies: npm install

- Start dev server: npm run dev

Frontend available at http://localhost:5173 — proxies API calls to http://localhost:8000.

## 4.3  Running Tests

pytest tests/test_unit.py -v
pytest tests/test_unit.py -v --cov=backend --cov-report=term-missing

⚠  Note:  Tests that depend on InfluxDB will raise RuntimeError (expected and tested). Solver, identification, and auth tests run fully without external services.

# 5. Port & Service Reference

| Port | Service | Purpose |
| --- | --- | --- |
| 3000 | Frontend (Nginx) | Primary user access — web browser UI |
| 8000 | Backend (FastAPI) | REST API and WebSocket endpoint |
| 4840 | OPC UA Server | Built-in OPC UA — connect DCS/SCADA/historians here |
| 5432 | PostgreSQL | Config database (do not expose externally in production) |
| 8086 | InfluxDB | Time-series database + admin UI |
| 5173 | Vite Dev Server | Frontend dev only — not present in Docker |

⚠  Note:  In production, only ports 3000 and 4840 need to be reachable from the plant network. PostgreSQL and InfluxDB should be firewalled.

# 6. First Login & Initial Setup

## 6.1  Password Change on First Login

Navigate to http://localhost:3000. Log in with admin / Admin@MPC2026!. The system will immediately require a new password.

Password policy:

- Minimum 10 characters

- At least one uppercase letter, one digit, and one special character

- Cannot match any of the last 5 passwords

## 6.2  Creating Additional Users

- Log in as admin. Navigate to Admin (top navigation).

- Click + New User and complete the form.

- Assign a role:

  - Administrator — full access including user management, audit log, retention policies

  - Engineer — configure variables, models, controller, scripts, and OPC tags

  - Operator — read-only access plus setpoint adjustments

- The new user must change their password on first login.

## 6.3  Creating a Project

- Navigate to Variables. Click + New Project.

- Enter a project name (e.g. "Crude Unit MPC") and optional description.

- Click Create. Select the project in the header dropdown.

✅  Tip:  All configuration (variables, models, controller settings) is scoped to a project. Multiple projects can run on the same server.

# 7. Variable Configuration

Variables define the process signals used by the MPC controller.

| Type | Code | Description |
| --- | --- | --- |
| Controlled Variable | CV | Process output to control (temperature, composition, level) |
| Manipulated Variable | MV | Controller output — the handle used to move the process (valve, flow SP) |
| Disturbance Variable | DV | Measured feed-forward disturbance (feed rate, ambient temperature) |
| Auxiliary Variable | Aux | Tags for scripting, scheduling logic, or custom OPC nodes |

## 7.1  Adding Variables

- Navigate to Variables page. Click + Add Variable.

- Enter name (must be unique within project — use OPC tag name for clarity).

- Set Type (CV / MV / DV / Auxiliary).

- Fill type-specific fields:

  - CV: High Limit, Low Limit, Setpoint, Weight, Priority

  - MV: High Limit, Low Limit, Rate Limit, Resting Value, Move Suppression

  - DV: Filter time constant, bad-value strategy

- Optionally enter OPC Tag Path (e.g. ns=2;s=PLC.T101.PV).

- Click Save.

## 7.2  Interaction Matrix

Defines which MVs are expected to affect which CVs. Used to build the MIMO model structure.

- Navigate to Variables → Interaction Matrix tab.

- Click Auto-Generate — creates all possible CV×MV pairs, all active by default.

- Uncheck pairs with known zero gain.

✅  Tip:  A correct interaction matrix reduces over-fitting during identification and improves controller performance.

## 7.3  Bulk Import

For large projects, POST a JSON array of variable objects to:

POST /api/v1/projects/{project_id}/variables/bulk-import

Set on_conflict to skip (default), update, or error to control duplicate handling.

# 8. Model Identification

## 8.1  Identification Methods

| Method | Type | Best For |
| --- | --- | --- |
| fopdt | First-Order Plus Dead Time | Simple systems, step test data |
| arx | AutoRegressive eXogenous | Well-mixed MIMO with PRBS or GBN excitation |
| n4sid | Subspace Method | Higher-order dynamics, noisy data, closed-loop ID |

## 8.2  Open-Loop Identification Procedure

- Set controller to Off or Open-Loop mode.

- Navigate to Models → Identification tab.

- Select a test signal type (PRBS recommended for MIMO). Download and apply to each MV in DCS.

- Record at least 5–10 residence times of data.

- Upload the input-output CSV (timestamp + CV and MV columns).

- Select identification method. Click Run Identification.

- Review fit metrics (NRMSE, R²) and the overlay chart.

- If acceptable, click Save to Model Library.

## 8.3  Model Library Status Workflow

| Status | Meaning & Allowed Transitions |
| --- | --- |
| Draft | Newly identified. → Validated or Rejected |
| Validated | Reviewed. → Approved, Rejected, or back to Draft |
| Approved | Can be assigned as active model. → Archived only |
| Archived | Retired. → Can be re-Approved |
| Rejected | Failed. → Can be returned to Draft for rework |

⛔  Warning:  Only models with status Approved can be assigned as the active controller model.

## 8.4  Model Selection Rules

| Method | Controller State | Bumpless Transfer |
| --- | --- | --- |
| Manual (UI) | Must be Off or Open-Loop | N/A — fresh restart |
| Model Scheduling Rule | Can remain in Closed-Loop | Automatic |
| Preprocessor Script | Can remain in Closed-Loop | Automatic |

# 9. Controller Configuration

## 9.1  Core Parameters

| Parameter | Typical Value | Description |
| --- | --- | --- |
| Control Interval (Δt) | 60 s (1 min) | Execution frequency |
| Prediction Horizon (P) | 30 steps | How far ahead to predict (30–60 min typical) |
| Control Horizon (M) | 5 steps | Free MV moves computed (3–10 typical) |
| CV Weights (Q) | 1.0 per CV | Relative importance. Higher = tighter control. |
| MV Move Suppression (R) | 0.1–1.0 per MV | Higher = smoother, less aggressive output. |

## 9.2  Controller Modes

| Mode | Behaviour |
| --- | --- |
| Off | Stopped. No OPC reads or writes. Safe state for configuration changes. |
| Open Loop | Runs and solves but does NOT write MV moves to OPC. Use for shadow-testing. |
| Closed Loop | Full automatic control. Reads CVs/DVs, solves, writes MV targets at each interval. |
| Simulation | Uses internal plant model instead of real OPC. Test tuning offline. |

⚠  Note:  When switching from Open Loop to Closed Loop, ensure MV resting values match current DCS values to prevent a bump on transfer.

## 9.3  Assigning an Active Model

- Stop the controller (Off or Open Loop).

- Navigate to Controller → Active Model.

- Select an Approved model. Verify CV and MV lists match your configuration.

- Click Assign Model, then start the controller.

# 10. Scripting Engine

Python scripts run at each controller cycle in a sandboxed environment. No file or network access is permitted.

## 10.1  Preprocessor

Runs before the QP solver. Can modify: cv_setpoints, cv_high, cv_low, mv_high, mv_low, and cv values.

Example — grade-based setpoint adjustment:

# context: cv, mv, dv, cv_setpoints, cv_high, cv_low, mv_high, mv_low, tags
grade = context['tags'].get('AUX_Grade', 1)
if grade == 2:
    context['cv_setpoints'][0] = 185.0
    context['cv_high'][0] = 187.0
    context['cv_low'][0] = 183.0

## 10.2  Postprocessor

Runs after the solver. Receives the computed MV move array. Can clamp or override moves.

# moves is a numpy array of MV incremental moves
import numpy as np
moves[0] = np.clip(moves[0], -2.0, 2.0)  # site rate limit on MV1

## 10.3  Security Restrictions

- Blocked: import os, sys, subprocess, socket, and all stdlib except math, json, datetime, re

- Blocked: file system access (open, pathlib)

- Blocked: network access

- Timeout: 5 seconds by default (configurable up to 30 s)

⚠  Note:  Script errors are logged. The controller cycle continues with default values — the controller does not stop.

# 11. OPC Server & Transporter

## 11.1  Built-in OPC UA Server

Accessible at opc.tcp://localhost:4840/mpc-engine/server. Namespace:

| Path | Contents |
| --- | --- |
| MPC/Inputs/CV | Measured CV values (read from DCS via Transporter) |
| MPC/Inputs/MV | Current MV feedback values |
| MPC/Inputs/DV | Measured disturbance variables |
| MPC/Outputs/MV | MV targets calculated by solver (written to DCS via Transporter) |
| MPC/Auxiliary | Grade signals, mode flags, computed tags |
| MPC/Controller | Mode, solver status, cycle count |
| MPC/KPI | Computed KPI tags |
| MPC/Custom | User-created custom tags |

## 11.2  OPC Transporter

- Navigate to OPC page. Click + Add External Server.

- Enter the OPC UA endpoint of the DCS. Configure credentials if required.

- Add Tag Mappings:

  - DCS → MPC: reads CV/DV values from DCS into the MPC server

  - MPC → DCS: writes computed MV targets back to DCS

  - Bidirectional: MV feedback read and target write on same tag

- Set sync rate (default 1000 ms). Add a transform expression for unit conversion if needed.

# 12. Model Scheduling

Automatically switch between approved models at runtime without stopping the controller. Bumpless transfer is applied automatically.

## 12.1  Creating a Schedule Rule

- Navigate to Controller → Model Scheduling. Click + Add Rule.

- Set name and priority (lower number = higher priority, evaluated first).

- Enter a condition expression (Python boolean, evaluated each cycle).

- Select the target model (must be Approved). Optionally enable blending.

Example condition expressions:

# Grade-based
tags['AUX_Grade'] == 2 and tags['AUX_Phase'] >= 3
# Feed rate
cv['F_Feed'] > 150.0
# Time of day
hour >= 6 and hour < 18  # daytime model

✅  Tip:  Use model_switch_dwell_time (default: 5 intervals) to prevent rapid oscillation between models near a condition boundary.

# 13. Real-Time Monitoring

The Monitoring page provides a live view updated via WebSocket — no manual refresh needed.

| Panel | Contents |
| --- | --- |
| Status Bar | Mode, solver status, cycle time, active model, WebSocket state |
| KPI Stats | Solve time (ms), QP iterations, active constraints, objective value |
| CV Trend Chart | Live CVs with setpoint and limit overlays |
| MV Trend Chart | Live MVs with limit overlays |
| Alarm Panel | Active constraint violations and solver warnings |
| CV/MV Table | Numeric values, setpoints, limits for all variables |

# 14. Data Management

## 14.1  Export Types

| Export | Contents |
| --- | --- |
| Tag History (.csv) | Time-series for all CVs/MVs/DVs. Supports downsampling (1m, 5m, 1h). |
| Cycle Diagnostics (.csv) | Solver timing, iterations, status, objective value per cycle. |
| Project Config (.json) | All variables, controller parameters, scripts, scheduling rules. |
| Full Archive (.zip) | All of the above in one file. |

## 14.2  Retention Policy

Configure on Data page (Admin only). Default is infinite retention. Recommended: set 90 days and configure InfluxDB downsampling tasks for long-term archival.

## 14.3  Configuration Backups

Click Create Backup to save a timestamped JSON snapshot to /tmp/mpc_backups on the server. Use the preview endpoint to inspect a backup before restoring.

⚠  Note:  Backups capture configuration only. Time-series historian data is not included — use the Archive export for that.

# 15. Security & Administration

## 15.1  Password Policy (Configurable in .env)

| Policy | Default |
| --- | --- |
| Minimum length | 10 characters |
| Complexity | Uppercase + digit + special character required |
| Expiry | 90 days (set PASSWORD_EXPIRY_DAYS=0 to disable) |
| History | Last 5 passwords cannot be reused |
| Lockout | 5 failed attempts → 15-minute lockout |
| Idle timeout | 30 minutes |
| Absolute timeout | 480 minutes (8 hours) |
| Max concurrent sessions | 2 per user |

## 15.2  Audit Log & Sessions

Every configuration change, login, logout, model assignment, and mode change is recorded. Access via Admin → Audit Log. Filter by action, user, and date range.

Administrators can view and revoke any session from Admin → Active Sessions.

# 16. Troubleshooting

| Symptom | Resolution |
| --- | --- |
| Cannot log in — account locked | Wait 15 min or ask Admin to unlock via Admin → User Management → Unlock. |
| WebSocket disconnected | Check backend container is running (docker compose ps). Frontend auto-reconnects in 5–10 s. |
| Controller stuck at Off | No active model assigned. Assign an Approved model in Controller → Active Model. |
| Solver status: infeasible | Check limits: cv_high > cv_low, mv_high > mv_low. Verify model gain signs. |
| OPC tags not updating | Check Transporter status on OPC page. Verify external server endpoint and credentials. |
| DB connection error on startup | Postgres may not be ready. Wait 30 s and retry: docker compose restart backend. |
| InfluxDB unavailable | Backend starts without InfluxDB but time-series and export unavailable. Check: docker compose logs influxdb. |
| Script error in preprocessor | Check preprocessor_log in monitoring cycle data. Fix and save — controller keeps running. |

## 16.1  Viewing Logs

docker compose logs -f
docker compose logs -f backend
docker compose logs --tail=100 backend

## 16.2  Resetting the Database (Destructive)

⛔  Warning:  This deletes ALL data including projects, variables, models, and users.

docker compose down -v
docker compose up -d
docker compose exec backend python -m backend.app.init_db

# 17. API Quick Reference

Full interactive docs at http://localhost:8000/docs. Key endpoint groups:

| Group | Base Path | Key Operations |
| --- | --- | --- |
| Auth | /api/v1/auth | Login, logout, change password, create users |
| Projects | /api/v1/projects | CRUD, variables, bulk import, interaction matrix |
| Models | /api/v1/projects/{id}/models | Library CRUD, status workflow, model assignment |
| Controller | /api/v1/projects/{id}/controller | Config, mode change, scripts, scheduling rules |
| Identification | /api/v1/projects/{id}/identification | Run identification, generate test signals |
| OPC | /api/v1/projects/{id}/opc | Custom tag CRUD, server status, tag write |
| Data | /api/v1/projects/{id}/data | Export CSV/JSON/ZIP, import, retention, backups |
| Security | /api/v1/security | Audit log, sessions, user lock/unlock |

WebSocket channels:

| URL | Data Stream |
| --- | --- |
| ws://host:8000/ws/tags/{project_id} | Live tag values at each control cycle |
| ws://host:8000/ws/controller/{project_id} | Controller status, solver diagnostics, active model |
| ws://host:8000/ws/alarms/{project_id} | Real-time alarm and constraint violation events |

# Appendix — Environment Variables Reference

| Variable | Default | Description |
| --- | --- | --- |
| SECRET_KEY | (must change) | JWT signing key — random 64-char string in production |
| DATABASE_URL | postgresql+asyncpg://... | Async PostgreSQL connection URL |
| INFLUXDB_URL | http://localhost:8086 | InfluxDB host URL |
| INFLUXDB_TOKEN | mpc-engine-influx-token | InfluxDB API token |
| OPC_SERVER_ENDPOINT | opc.tcp://0.0.0.0:4840/... | Built-in OPC UA server bind address |
| MAX_LOGIN_ATTEMPTS | 5 | Failed logins before lockout |
| LOCKOUT_DURATION_MINUTES | 15 | Duration of account lockout |
| PASSWORD_EXPIRY_DAYS | 90 | Days until password must change (0 = disabled) |
| IDLE_TIMEOUT_MINUTES | 30 | Session idle timeout before auto-logout |
| DEFAULT_CONTROL_INTERVAL_SEC | 60 | Default MPC execution interval in seconds |
| LOG_LEVEL | INFO | DEBUG, INFO, WARNING, or ERROR |
| CORS_ORIGINS | ["http://localhost:3000"] | Allowed frontend origins (JSON array) |

— End of Document —